## Heidelburg vs um well labeled
|  | I/B | I/B | D | D
Proton Beam Energy (MeV) | Kapton Thickness (um) | HIT | G4 | HIT | G4 | Calc/Meas | 100(C - M)/M
70.03 | 0 |  | 0.975 |  | -2.5
70.03 | 59 | 0.975 | 0.963 | -2.5 | -3.7 | 0.98769 | -1.2308
70.03 | 100 | 0.9385 | 0.959 | -6.15 | -4.1 | 1.0218 | 2.1843
70.03 | 200 | 0.935 | 0.9545 | -6.5 | -4.55 | 1.0209 | 2.0856
100.46 | 0 |  | 0.9845 |  | -1.55
100.46 | 59 | 0.985 | 0.9695 | -1.5 | -3.05 | 0.98426 | -1.5736
100.46 | 100 | 0.95 | 0.966 | -5 | -3.4 | 1.0168 | 1.6842
100.46 | 200 | 0.9475 | 0.9605 | -5.25 | -3.95 | 1.0137 | 1.372
130.52 | 0 |  | 0.9908 |  | -0.92
130.52 | 59 | 0.9925 | 0.9745 | -0.75 | -2.55 | 0.98186 | -1.8136
130.52 | 100 | 0.958 | 0.971 | -4.2 | -2.9 | 1.0136 | 1.357
130.52 | 200 | 0.9525 | 0.966 | -4.75 | -3.4 | 1.0142 | 1.4173
160.09 | 0 |  | 0.995 |  | -0.5
160.09 | 59 | 1 | 0.978 | 0 | -2.2 | 0.978 | -2.2
160.09 | 100 | 0.9635 | 0.9755 | -3.65 | -2.45 | 1.0125 | 1.2455
160.09 | 200 | 0.959 | 0.9705 | -4.1 | -2.95 | 1.012 | 1.1992
190.48 | 0 |  | 0.998 |  | -0.2
190.48 | 59 | 1.0075 | 0.981 | 0.75 | -1.9 | 0.9737 | -2.6303
190.48 | 100 | 0.9715 | 0.979 | -2.85 | -2.1 | 1.0077 | 0.772
190.48 | 200 | 0.965 | 0.9745 | -3.5 | -2.55 | 1.0098 | 0.98446
221.06 | 0 |  | 1 |  | 0
221.06 | 59 | 1.0125 | 0.984 | 1.25 | -1.6 | 0.97185 | -2.8148
221.06 | 100 | 0.98 | 0.982 | -2 | -1.8 | 1.002 | 0.20408
221.06 | 200 | 0.977 | 0.978 | -2.3 | -2.2 | 1.001 | 0.10235
LEGENDS
|  | HIT | G4 |  |  |  | Error
| 70 | HIT 70 MeV | G4 70 MeV |  |  |  | 70 MeV
| 100 | HIT 100 MeV | G4 100 MeV |  |  |  | 100 MeV
| 131 | HIT 131 MeV | G4 131 MeV |  |  |  | 131 MeV
| 160 | HIT 160 MeV | G4 160 MeV |  |  |  | 160 MeV
| 190 | HIT 190 MeV | G4 190 MeV |  |  |  | 190 MeV
| 221 | HIT 221 MeV | G4 221 MeV |  |  |  | 221 MeV
| LINE LABELS | I/B |  | D |  |  |  |  | Error in G4 Simulation of Current Measured at HIT 100 x (G4 - HIT)/HIT
| 200 | [7 empty] | Error (%)
70.03 | 200 | 0.935 | HIT 70 MeV | -6.5 |  | 2.0856 | 70 MeV
70.03 | 0 | 0.975 | G4 70 MeV | -2.5 |  |  |  |  | PFC Current per Beam Proton as Measured at HIT (ref GO14) and Simulated by Geant4
100.46 | 200 | 0.9475 | HIT 100 MeV | -5.25 |  | 1.322 | 100 MeV | 0.05 | I/B (Current to Beam Ratio)
100.46 | 0 | 0.985 | G4 100 MeV | -1.55 |  |  |  |  | Kapton Thickness (um)
131 | 200 |  |  |  |  | 1.4673 | 131 MeV | 0.05
131 | 0 | [7 empty] | Defect (%)
160.09 | 200 | 0.959 | HIT 160 MeV | -4.1 |  | 1.1992 | 160 MeV
160.09 | 0 | 0.995 | G4 160 MeV | -0.5 |  |  |  |  | Simulated Defect (%) compared to HIT Measurements
190 | 200 |  |  |  |  | 0.98446 | 190 MeV
190 | 0
221.06 | 200 | 0.977 | HIT 221 MeV | -2.3 |  | 0.10235 | 221 MeV
221.06 | 0 | 1.001 | G4 221 MeV | 0

## Heidelburg vs um
Proton Beam Energy (MeV) | Kapton Thickness (um) | HIT | G4
70.03 | 0 |  | 0.975
70.03 | 59 | 0.975 | 0.963
70.03 | 100 | 0.9385 | 0.959
70.03 | 200 | 0.935 | 0.9545
100.46 | 0 |  | 0.9845
100.46 | 59 | 0.985 | 0.9695
100.46 | 100 | 0.95 | 0.966
100.46 | 200 | 0.9475 | 0.9605
130.52 | 0 |  | 0.9908
130.52 | 59 | 0.9925 | 0.9745
130.52 | 100 | 0.958 | 0.971
130.52 | 200 | 0.9525 | 0.966
160.09 | 0 |  | 0.995
160.09 | 59 | 1 | 0.978
160.09 | 100 | 0.9635 | 0.9755
160.09 | 200 | 0.959 | 0.9705
190.48 | 0 |  | 0.998
190.48 | 59 | 1.0075 | 0.981
190.48 | 100 | 0.9715 | 0.979
190.48 | 200 | 0.965 | 0.9745
221.06 | 0 |  | 1
221.06 | 59 | 1.0125 | 0.984
221.06 | 100 | 0.98 | 0.982
221.06 | 200 | 0.977 | 0.978
TITLES
|  | Experiment (HIT) | Simulated Geant4
| 70 | Experiment (HIT) 70 MeV | Simulated Geant4 70 MeV)
| 100 | Experiment (HIT) 100 MeV | Simulated Geant4 100 MeV)
| 131 | Experiment (HIT) 131 MeV | Simulated Geant4 131 MeV)
| 160 | Experiment (HIT) 160 MeV | Simulated Geant4 160 MeV)
| 190 | Experiment (HIT) 190 MeV | Simulated Geant4 190 MeV)
| 221 | Experiment (HIT) 221 MeV | Simulated Geant4 221 MeV)
Current per Beam Proton from Kapton Coated Copper Beam Stop (ref GO14)
I/B (Current to Beam Ratio)
Kapton Thickness (um)

## Heidelburg
[6 empty] | title | Current per Beam Proton from Kapton Coated Copper Beam Stop (ref GO14)
Beam Stop Design | Proton Beam Energy (MeV) | I from GO14 | I/B | I/B MCNP | I/B GEANT4 | y | I/B (Current to Beam Ratio)
|  |  | Measured (59 um Kapton) | MCNP6 (all) | GEANT4 (59 um Kapton) | x | Incident Proton Beam Energy (MeV)
| 70.03 | 1950000000 | 0.975 | 1 | 0.963
S59 | 100.46 | 1970000000 | 0.985 | 1 | 0.9695
S59 | 130.52 | 1985000000 | 0.9925 | 1 | 0.9745
S59 | 160.09 | 2000000000 | 1 | 1 | 0.978
S59 | 190.48 | 2015000000 | 1.0075 | 1 | 0.981
S59 | 221.06 | 2025000000 | 1.0125 | 1 | 0.984
|  |  | Measured (100 um Kapton) |  | GEANT4 (100 um Kapton)
| 70.03 | 1877000000 | 0.9385 | 1 | 0.959
S100 | 100.46 | 1900000000 | 0.95 | 1 | 0.966
S100 | 130.52 | 1916000000 | 0.958 | 1 | 0.971
S100 | 160.09 | 1927000000 | 0.9635 | 1 | 0.9755
S100 | 190.48 | 1943000000 | 0.9715 | 1 | 0.979
S100 | 221.06 | 1960000000 | 0.98 | 1 | 0.982
|  |  | Measured (200 um Kapton) |  | GEANT4 (200 um Kapton)
| 70.03 | 1870000000 | 0.935 | 1 | 0.9545
S200 | 100.46 | 1895000000 | 0.9475 | 1 | 0.9605
S200 | 130.52 | 1905000000 | 0.9525 | 1 | 0.966
S200 | 160.09 | 1918000000 | 0.959 | 1 | 0.9705
S200 | 190.48 | 1930000000 | 0.965 | 1 | 0.9745
S200 | 221.06 | 1954000000 | 0.977 | 1 | 0.978
The energies were from the Table on page 5
The I values are from the figure on page 9. B is 2E9.
gEANT 4 series from 2014-12-14 1m events
GEANT4 Bare Cu
Bare CU | 70.03 |  |  |  | 0.975
| 100.46 |  |  |  | 0.9845
| 130.52 |  |  |  | 0.9908
| 160.09 |  |  |  | 0.995
| 190.48 |  |  |  | 0.998
| 221.06 |  |  |  | 1

## Borovsky
| BO88 | BO88 | Geant4 | Geant4 |  | title | Current per Beam Proton from Gold Target in a Vacuum (ref BO88)
[6 empty] | y | I/B (Current to Beam Ratio)
| Yield = (I-B)/B | I/B | Yield = (I-B)/B | I/B |  | x | Incident Proton Beam Energy (MeV)
Proton Beam Energy (MeV) |  | MEASURED |  | GEANT4
5 | 0.58 | 1.58 | -9.1e-05 | 0.99991
7 | 0.48 | 1.48 | -7.5e-05 | 0.99992
9 | 0.47 | 1.47 | -7.7e-05 | 0.99992
11 | 0.36 | 1.36 | -0.000109 | 0.99989
13 | 0.31 | 1.31 | -0.000119 | 0.99988
15 | 0.27 | 1.27 | -9.8e-05 | 0.9999
17 | 0.33 | 1.33 | 1e-05 | 1
17.5 | 0.22 | 1.22 | 4e-05 | 1
18 | 0.26 | 1.26 | 8e-05 | 1.0001
Proton Beam Energy (MeV) | Y BO88 experiment | I/B BO88 experiment | Y (e- + h+) mcnp mode h e | Y (e-) mcnp mode h e n p | Y (h+) mcnp mode h e n p | MCNP6
|  |  | note A | note B | note C
5 | 0.58 | 1.58 | 0 | 0 | -1e-06 | 1
11 | 0.36 | 1.36 | 0 | 5.24e-06 | 0 | 1
18 | 0.26 | 1.26 | 0 | 2.4e-06 | -4e-06 | 1

## cull data from graph
| CU | S59 | S100 | S200
70.03 | 0.975 | 0.963 | 0.959 | 0.9545
100.46 | 0.9845 | 0.9695 | 0.966 | 0.9605
130.52 | 0.9908 | 0.9745 | 0.971 | 0.966
160.09 | 0.995 | 0.978 | 0.9755 | 0.9705
190.48 | 0.998 | 0.981 | 0.979 | 0.9745
221.06 | 1 | 0.984 | 0.982 | 0.978
for scaling
70.03 | 0.96 | 1
221.06 | 0.96 | 1